## Intro
OLPC Deployment Workbook
This collection of spreadsheets is designed to collect together the experience of the OLPC Technical Team and system component costs and information about a specific laptop deployment provided by the local team to produce an estimate of the infrastructure required, and the costs involved in the deployment.
There are two worksheets for use in planning: Country and School. The Country worksheet takes information about overall number of laptops and rough percentages of schools and provides a rough estimate of the costs. The School worksheet takes detailed information about a particular school and provides an estimate of the required infrastructure, power, and costs given different power scenarios.
These estimated costs depend on the accuracy of the system component costs specified in the Laptop Costs, Program Costs, and Other Costs worksheets. While the defaults provided are based on commercially available components, these must be updated to reflect current and local prices for these components before using this workbook to estimate costs.

## Country
Country Expenses Estimate
Use this worksheet to estimate the costs of a laptop deployment. You must first check and correct the price estimates located in Laptop Costs, Other Costs, and Program Costs worksheets to account for local prices.
To be filled by the Country
Please fill with the requested amounts
Provide the total number of laptops: |  |  | 100000 | (total number of children and teachers)
Provide the percentage of laptops going to:
How will the school be powered ?
|  |  | Power Grid | Solar | Ind. Solar | Generator
|  | Small Schools (less than 50 students) : | 5% | 5% | 10% | 20%
|  | Medium Schools (between 50 and 300 students) : | 5% | 5% |  | 30%
|  | Large Schools (more than 300 students) : | 20% | 0% |  | 0%
Provide the percentage of schools with Internet Connectivity:
Connection Method : | GSM | DSL | Satellite | Other | None
Percentage of Schools : | 30% | 30% | 0% | 0% | 40%
Additional Usage Information
| Laptop Usage : | 1 | charges per day (3-4 hours of operation per charge)
| Infrastructure Usage : | 4 | hours of operation per day
If alternative power, how much storage is provided ? |  | 0 | school days (using above usage information)
Solar array requirements computed based on |  | 4 | hours of sunlight per day
Estimated Deployment Expenses
| Estimated Total Number of Schools: | 1575
| Num. Laptops | Est. Num. Schools | Capital |  | Operating (per month)
Schools using Grid Power |  |  | Cost/Laptop | Subtotal | Cost/Laptop | Subtotal
Small | 5000 | 167 | 250 | 1250000 | 0.10816 | 540.8
Medium | 5000 | 25 | 219.9 | 1099500 | 0.099744 | 498.72
Large | 20000 | 40 | 216.7 | 4334000 | 0.10015 | 2002.944
School using Solar
Small | 5000 | 167 | 426.3333 | 2131666.6667 | 0 | 0
Medium | 5000 | 25 | 309.65 | 1548250 | 0 | 0
Large | 0 | 0 | 296.14 | 0 | 0 | 0
Individual | 10000 | 334 | 306.0833 | 3060833.3333 | 0 | 0
Schools using Generators
Small | 20000 | 667 | 268 | 5360000 | 0.72107 | 14421.3333
Medium | 30000 | 150 | 223.4 | 6702000 | 0.66496 | 19948.8
Large | 0 | 0 | 220.14 | 0 | 0.66765 | 0
Repair Costs
Spare Parts | 100000 |  |  |  | 0.32806 | 32805.5556
Internet Connectivity |  |  | Cost/School |  | Cost/School
GSM |  | 473 | 100 | 47300 | 50 | 23650
DSL |  | 473 | 200 | 94600 | 40 | 18920
Satellite |  | 0 | 2000 | 0 | 100 | 0
Other |  | 0 | 800 | 0 | 20 | 0
Laptop & Infrastructure Subtotals |  |  |  | 25628150 |  | 112788.1529
Associated Program Costs
Training | 100000 |  |  | 0
Software Preparation |  |  |  | 0
Total Estimated Capital Costs : |  |  |  | 25628150
Total Estimated Monthly Operating Costs: | [5 empty] | 112788.1529
Expenses Details |  |  | Capital |  | Operating (per month)
| Laptops : |  | 20900000 | 81.55% |  | 0%
| Laptop Repair : |  |  | 0% | 32805.5556 | 29.09%
| Server and Networking Infrastructure : |  | 2214700 | 8.642% | 42570 | 37.74%
| Power Infrastructure : |  | 2513450 | 9.807% | 37412.5973 | 33.17%
| Totals : |  | 25628150 |  | 112788.1529

## School
Individual School Expenses Estimate
To be filled by the Country
Please fill with the requested amounts
Number of laptops in the school: | 60 | teachers and students
Internet Connectivity | DSL | (DSL,VSAT,GSM,None)
Laptop Usage | 1 | charges per day
(3-4 hours of operation per charge)
Infrastructure Usage | 8 | hours of operation per day
If alternative power, how much storage ? | 0 | school days
Solar array requirements computed based on | 4 | hours of sunlight per day
Suggested Infrastructure
Number of Servers: | 1 | small server
Number of Access Points: | 2
Number of Switches: | 1
Power requirements per school
Laptops | 1.2 | kW, or | 2.4 | kWH per day
Servers | 0.022 | kW, or | 0.176 | kWH per day
Networking | 0.045 | kW, or | 0.36 | kWH per day
Mimimum Service required for this school | 1.267 | kiloWatts
Power per day required by this school | 2.936 | kiloWatt Hours
Server
Processor | 1 | GHz x86 compatible
Minimum Memory (DRAM) | 1 | GiByte per server
Minimum Disk Storage | 512 | GiByte per server
Estimated Costs
With Grid Power | Cost/ea | Qty | Subtotal
Laptops | 209 | 60 | 12540
Server(s) | 800 | 1 | 800
Disk Storage | 200 | 1 | 200
Wireless Access Points w. POE | 120 | 2 | 240
Network Switch w. POE (8 port) | 120 | 1 | 120
Internet Connectivity | 200 | 1 | 200
Cat5 Cabling | 10 | 3 | 30
Power Strips | 10 | 18 | 180
|  | Total Estimated Cost for this school: | 14310
|  | Cost/Student: | 238.5
|  | Server & Networking Cost/Student: | 26.5
|  | Power Cost/Student: | 3
|  | Monthly Cost of Operation: | 47.0464
With Grid Power & XOP | Cost/ea | Qty | Subtotal
Laptops | 209 | 60 | 12540
Server(s) | 800 | 1 | 800
Disk Storage | 200 | 1 | 200
Wireless Access Points w. POE | 120 | 2 | 240
Network Switch w. POE (8 port) | 120 | 1 | 120
Internet Connectivity | 200 | 1 | 200
Cat5 Cabling | 10 | 3 | 30
XOP Distributed or Rack | 165 | 3 | 495
Power Strips | 10 | 2 | 20
|  | Total Estimated Cost for this school: | 14645
|  | Cost/Student: | 244.0833
|  | Server & Networking Cost/Student: | 26.5
|  | Power Cost/Student: | 8.5833
|  | Monthly Cost of Operation: | 47.0464
With Grid & MBC | Cost/ea | Qty | Subtotal
Laptops | 209 | 60 | 12540
Server(s) | 800 | 1 | 800
Disk Storage | 200 | 1 | 200
Wireless Access Points w. POE | 120 | 2 | 240
Network Switch w. POE (8 port) | 120 | 1 | 120
Internet Connectivity | 200 | 1 | 200
Cat5 Cabling | 10 | 3 | 30
Multi Battery Charger | 350 | 1 | 350
Extra XO Batteries | 20 | 60 | 1200
Power Strips | 10 | 2 | 20
|  | Total Estimated Cost for this school: | 15700
|  | Cost/Student: | 261.6667
|  | Power Cost/Student: | 26.1667
|  | Monthly Cost of Operation: | 40
With Solar Power | Cost/ea | Qty | Subtotal
Laptops | 209 | 60 | 12540
Server(s) | 800 | 1 | 800
Disk Storage | 200 | 1 | 200
Wireless Access Points w. POE | 120 | 2 | 240
Network Switch w. POE (8 port) | 120 | 1 | 120
Internet Connectivity | 200 | 1 | 200
Cat5 Cabling | 10 | 3 | 30
Large Solar Panels (in kW) | 5000 | 1 | 5000
Inverter (2 kW) | 2000 | 2 | 4000
Solar Storage Battery (in kWh) | 1500 | 1 | 1500
Solar Charge Controller (1.4 kW) | 500 | 1 | 500
New outlets from Inverters to classrooms | 40 | 2 | 80
Power Strips | 10 | 18 | 180
|  | Total Estimated Cost for this school: | 25390
|  | Cost/Student: | 423.1667
|  | Power Cost/Student: | 187.6667
|  | Monthly Cost of Operation: | 40
With Solar Power & XOP | Cost/ea | Qty | Subtotal
Laptops | 209 | 60 | 12540
Server(s) | 800 | 1 | 800
Disk Storage | 200 | 1 | 200
Wireless Access Points w. POE | 120 | 2 | 240
Network Switch w. POE (8 port) | 120 | 1 | 120
Internet Connectivity | 200 | 1 | 200
Cat5 Cabling | 10 | 3 | 30
Large Solar Panels (in kW) | 5000 | 1 | 5000
Inverter (2 kW) | 2000 | 1 | 2000
Solar Storage Battery (in kWh) | 1500 | 1 | 1500
Solar Charge Controller (1.4 kW) | 500 | 1 | 500
New outlets from Inverters to classrooms | 40 | 2 | 80
XOP Distributed or Rack | 165 | 3 | 495
Power Strips | 10 | 2 | 20
|  | Total Estimated Cost for this school: | 23725
|  | Cost/Student: | 395.4167
|  | Power Cost/Student: | 159.9167
|  | Monthly Cost of Operation: | 40
With Solar Power & MBC | Cost/ea | Qty | Subtotal
Laptops | 209 | 60 | 12540
Server(s) | 800 | 1 | 800
Disk Storage | 200 | 1 | 200
Wireless Access Points w. POE | 120 | 2 | 240
Network Switch w. POE (8 port) | 120 | 1 | 120
Internet Connectivity | 200 | 1 | 200
Cat5 Cabling | 10 | 3 | 30
Large Solar Panels (in kW) | 5000 | 1 | 5000
Inverter (2 kW) | 2000 | 1 | 2000
Solar Storage Battery (in kWh) | 1500 | 1 | 1500
Solar Charge Controller (1.4 kW) | 500 | 1 | 500
Multi Battery Charger | 350 | 2 | 700
Extra XO Batteries | 20 | 60 | 1200
Power Strips | 10 | 2 | 20
|  | Total Estimated Cost for this school: | 25050
|  | Cost/Student: | 417.5
|  | Power Cost/Student: | 182
|  | Monthly Cost of Operation: | 40
With Generator | Cost/ea | Qty | Subtotal
Laptops | 209 | 60 | 12540
Server(s) | 800 | 1 | 800
Disk Storage | 200 | 1 | 200
Wireless Access Points w. POE | 120 | 2 | 240
Network Switch w. POE (8 port) | 120 | 1 | 120
Internet Connectivity | 200 | 1 | 200
Cat5 Cabling | 10 | 3 | 30
Generator and Diesel/Gasoline tanks | 500 | 1 | 500
New outlets from generators to classrooms | 40 | 2 | 80
Power Strips | 10 | 18 | 180
|  | Total Estimated Cost for this school: | 14890
|  | Cost/Student: | 248.1667
|  | Power Cost/Student: | 12.6667
|  | Monthly Cost of Operation: | 86.976
With Individual Solar Panels | Cost/ea | Qty | Subtotal
Laptops | 209 | 60 | 12540
Server(s) | 800 | 1 | 800
Disk Storage | 200 | 1 | 200
Wireless Access Points w. POE | 120 | 2 | 240
Network Switch w. POE (8 port) | 120 | 1 | 120
Internet Connectivity | 200 | 1 | 200
Cat5 Cabling | 10 | 3 | 30
Large Solar Panels (in kW) | 5000 | 0.2 | 1000
Inverter (2 kW) | 2000 | 1 | 2000
Solar Storage Battery (in kWh) | 1500 | 1 | 1500
Solar Charge Controller (1.4 kW) | 500 | 1 | 500
Individual Solar Panels | 42 | 60 | 2520
DC Power Share Cable | 3.75 | 60 | 225
Power Strips | 10 | 2 | 20
|  | Total Estimated Cost for this school: | 21895
|  | Cost/Student: | 364.9167
|  | Power Cost/Student: | 46.0833
|  | Monthly Cost of Operation: | 40
Note on A125: MBC = Multi Battery Charger
Note on A134: Joshua Seal: A smaller Inverter should be put here because the infrastructure of the school requires so little power
Note on A170: Joshua Seal: A smaller Inverter should be put here because the infrastructure of the school requires so little power
not used in any calculations, but what I think the numbers should be.

## Laptop Costs
The cost of a laptop is more than just the original cost of purchase. This worksheet incorporates the transportation costs, customs duties, and estimated five-year repair costs into the effective Laptop Cost.
All prices provided here are reasonable estimates. Actual prices will vary, and should be verified before using for budgetary estimates!
Product and Delivery
| Cost |  | Power
Laptop purchase | 205 |  | 40 | WH per charge
Transportation
to site | 4 | (this should include any warehousing)
Import Duties | 0
Effective Laptop Cost
The effective laptop cost includes the purchase, delivery, and customs costs
Effective Laptop Cost : | 209
Repair
This portion estimates maintenance costs for the laptop.
The predicted frequency is an estimate of the proportion of laptops which will likely experience this problem over any given month in their five year lifespan.
The hypothetical component price will have to be negotiated directly with Quanta Computer Inc., or a third party supplier.
Repair | Amortized Cost | Hypothetical Price | Predicted Frequency
Dead units (motherboard) | 0.17417 | 209 | 0.00083333
Displays | 0.066667 | 80 | 0.00083333
Keyboards | 0.01 | 12 | 0.00083333
Touchpads | 0.0066667 | 20 | 0.00033333
Batteries | 0.011111 | 20 | 0.00055556
Power Adapters | 0.041667 | 10 | 0.0041667
Repair Labor | 0.017778 | 8 | 0.0022222
Repair Kits | 0.016667 | 40 | 0.00041667
Estimated Repair Cost | 0.32806 | per laptop, per month

## Other Costs
This page contains the costs used in the scenarios, outside of the laptop transportation, repair, and program costs. Actual prices will vary, and should be verified before using for budgetary estimates!
All prices should include shipping costs and duties.
Server & Networking
Component | Estimated Cost |  | Power (W)
Large Server | 1200 |  | 80
2 GHz processor
4 GB DRAM |  | Varies, see School worksheet
1 TB Disk | 200 | disk priced separately, cheapest when provided by school
The size above which disk prices increase above the cost listed:
| 1024 | GiB
Small Server | 800 | e.g. Dell SC440 | 22
1 GHz processor
1 GB DRAM
disk priced separately, cheapest when provided by school
Small Server UPS | 200 | 100W output, 1 hr. capacity at 20W, for solar systems with no storage
Network Switch | 120 | e.g. Netgear FS108P, Dlink DES-1008P | 10
8 ports, w. PoE
WiFi Access Point, w PoE | 120 |  | 10
Cat5 Cable | 10 | per terminated 20 m segment
Repair kit | 40 | e.g. needlenose pliers, small wire cutters, #1 and #0 Philips magnetized screwdrivers, small flat screwdriver, soldering iron, solder, electrical tape, and a multimeter
Internet Access
Component | Estimated Cost |  | Power (W)
DSL Modem | 200 |  | 15
Monthly fees | 40 | per month
Satellite Terminal | 2000 |  | 50
Monthly fees | 100 | per month
GSM Modem | 100 |  | 5
Monthly GSM fee | 50 | per month
Other Method | 800 |  | 10
Operating costs | 20 | per month
Power Infrastructure
Component | Estimated Cost
Individual Solar Panel (10W) | 42 | GP Solar
Large Solar Panels | 5000 | per kW
Inverters | 2000 | per 2 kW
Batt. Charge Controllers | 500 | per 1.4 kW
Efficiency | 90%
Batteries | 1500 | per kWH
XO Power Adapter | 10
| 0.5 | Power Factor
Wind Generator | 3000 | per kW
Grid Power | 0.12 | per kWH
Power Strip/Surge Protector | 10 | per power strip
| 5 | students/power strip
New Outlets | 40 | per new wall outlet
| 40 | students/outlet
Diesel/Gasoline Generator | 500 | per generator
| 3 | kW service per generator
Generator Operating Cost | 0.8 | per kWH
at a Fuel Cost of : | 8 | per gallon
XOP Distributed or Rack | 165 | per Bundle
| 24 | students/XOP Bundle
| 0.95 | Power Factor
Multi Battery Charger | 350
| 15 | Batteries/Multi Battery Charger
XO Battery | 20 | per Battery
DC Power Share | 15 | per cable
| 4 | students and Solar/DC Power Share
System Constants
These are constants used in formulas which embed assumptions into the worksheet. They generally reflect the experience of testing and should not be changed without consulting OLPC.
Backup Storage per laptop | 2 | GiB per laptop
XS Disk space | 128 | GiB per server
(Disk space required for XS operating system)
XS Memory per laptop | 0.0019531 | (2) MiB expressed in GiB
School Days in Month | 20 | days
Number of laptops Charging simultaneously | 60%
Laptop & MBC Charge time | 2 | hours from socket

## Program Costs
This worksheet details expected program costs for laptop deployment.
These are locale specific prices. Please revise before using for budgetary purposes!
Per Laptop Program Costs
Teachers
| Teacher training | $ | per XO
| Stationery for the teacher trainings | $ | per XO
Materials
| Manuals for Teacher Training | $ | per XO
| Manuals for children | $ | per XO
| Content development | $ | per XO
| Didactic materials | $ | per XO
| Support to teachers regarding Learning Activities and to teachers planning class activities, | $ | per XO
Support
| Software | $ | per XO
Management
| Distribution scheme - children's and teacher's lists | $ | per XO
| XO control system | $ | per XO
| Per Laptop Program Costs | 0
Per Deployment Program Costs
Translation
| Sugar | $ | per locale
| Activities | $ | per locale
Evaluation
| Evaluation of software activities and content to pre-load on the XO (OLPC pilots) | $ | per locale
| Impact (assessment) - academic, social, creativity and innovation | $ | per locale
| Per Deployment Program Costs | 0

## Examples
These are example schools used in creating the deployment expenses estimate in the Country worksheet. This estimate requires that the costs specified in the Laptop Costs, Other Costs, and Program Costs worksheets be corrected to represent locally available prices.
Several infrastructure parameters, such as the number of sunlight hours, and the number of laptop charges per day are defined in common in the Country worksheet.
The costs of Internet connections are not present in these school calculations. Their cost is represented separately, and their power is still appropriately averaged and accounted for below.
Example #1: Small school
Number of laptops in the school: | 30 | teachers and students
Example #1 Suggested Infrastructure
Number of Servers: | 1 | small server
Number of Access Points: | 1
Number of Switches | 0
Power requirements per school
Laptops | 0.3 | kW, or | 1.2 | kWH per day
Servers | 0.022 | kW, or | 0.088 | kWH per day
Networking | 0.016 | kW, or | 0.064 | kWH per day
Minimum Service required for this school | 0.338 | kiloWatts
Power per day required by this school | 1.352 | kiloWatt Hours
Server
Processor | 1 | GHz x86 compatible
Minimum Memory (DRAM) | 1 | Gbyte per server
Minimum Disk Storage | 512 | Gbyte per server
Example #1 Estimated Costs
With Grid Power | Cost/ea | Qty | Subtotal
Laptops | 209 | 30 | 6270
Server(s) | 800 | 1 | 800
Disk Storage | 200 | 1 | 200
Wireless Access Points w. POE | 120 | 1 | 120
Network Switch w. POE (8 port) | 120 | 0 | 0
Cat5 Cabling | 10 | 1 | 10
Power Strips | 10 | 10 | 100
|  | Total Estimated Cost for this school: | 7500
|  | Cost/Student: | 250
|  | Server & Networking Cost/Student: | 37.6667
|  | Power Cost/Student: | 3.3333
|  | Monthly Cost of Operation / Student: | 0.10816
With Solar Power | Cost/ea | Qty | Subtotal
Laptops | 209 | 30 | 6270
Server(s) | 800 | 1 | 800
Disk Storage | 200 | 1 | 200
Wireless Access Points w. POE | 120 | 1 | 120
Network Switch w. POE (8 port) | 120 | 0 | 0
Cat5 Cabling | 10 | 1 | 10
Large Solar Panels (in kW) | 5000 | 0.4 | 2000
Inverter (2 kW) | 2000 | 1 | 2000
Solar Storage Battery (in kWh) | 1500 | 0.5 | 750
Solar Charge Controller (1.4 kW) | 500 | 1 | 500
New outlets from inverters to classrooms | 40 | 1 | 40
Power Strips | 10 | 10 | 100
|  | Total Estimated Cost for this school: | 12790
|  | Cost/Student: | 426.3333
|  | Power Cost/Student: | 179.6667
|  | Monthly Cost of Operation/Student: | 0
With Generator | Cost/ea | Qty | Subtotal
Laptops | 209 | 30 | 6270
Server(s) | 800 | 1 | 800
Disk Storage | 200 | 1 | 200
Wireless Access Points w. POE | 120 | 1 | 120
Network Switch w. POE (8 port) | 120 | 0 | 0
Cat5 Cabling | 10 | 1 | 10
Generator and Diesel/Gasoline tanks | 500 | 1 | 500
New outlets from generators to classrooms | 40 | 1 | 40
Power Strips | 10 | 10 | 100
|  | Total Estimated Cost for this school: | 8040
|  | Cost/Student: | 268
|  | Power Cost/Student: | 21.3333
|  | Monthly Cost of Operation/Student: | 0.72107
With Individual Solar Panels | Cost/ea | Qty | Subtotal
Laptops | 209 | 30 | 6270
Server(s) | 1200 | 1 | 1200
Disk Storage | 200 | 1 | 200
Wireless Access Points w. POE | 120 | 1 | 120
Network Switch w. POE (8 port) | 120 | 0 | 0
Cat5 Cabling | 10 | 1 | 10
Individual Solar Panels | 42 | 30 | 1260
DC Power Share Cable | 3.75 | 30 | 112.5
Power Strips | 10 | 1 | 10
|  | Total Estimated Cost for this school: | 9182.5
|  | Cost/Student: | 306.0833
|  | Server & Networking Cost/Student: | 51
|  | Power Cost/Student: | 46.0833
|  | Monthly Cost of Operation/Student: | 0
Example #2: Medium sized school
Number of laptops in the school: | 200 | teachers and students
Example #2 Suggested Infrastructure
Number of Servers: | 1 | small server
Number of Access Points: | 4
Number of Switches | 1
Power requirements per school
Laptops | 2 | kW, or | 8 | kWH per day
Servers | 0.022 | kW, or | 0.088 | kWH per day
Networking | 0.056 | kW, or | 0.224 | kWH per day
Mimimum Service required for this school | 2.078 | kiloWatts
Power per day required by this school | 8.312 | kiloWatt Hours
Server
Processor | 1 | GHz x86 compatible
Minimum Memory (DRAM) | 1 | Gbyte per server
Minimum Disk Storage | 1024 | Gbyte per server
Example #2 Estimated Costs
With Grid Power | Cost/ea | Qty | Subtotal
Laptops | 209 | 200 | 41800
Server(s) | 800 | 1 | 800
Disk Storage | 200 | 1 | 200
Wireless Access Points w. POE | 120 | 4 | 480
Network Switch w. POE (8 port) | 120 | 1 | 120
Cat5 Cabling | 10 | 5 | 50
Power Strips | 10 | 53 | 530
|  | Total Estimated Cost for this school: | 43980
|  | Cost/Student: | 219.9
|  | Server & Networking Cost/Student: | 8.25
|  | Power Cost/Student: | 2.65
|  | Monthly Cost of Operation: | 0.099744
With Solar Power | Cost/ea | Qty | Subtotal
Laptops | 209 | 200 | 41800
Server(s) | 800 | 1 | 800
Disk Storage | 200 | 1 | 200
Wireless Access Points w. POE | 120 | 4 | 480
Network Switch w. POE (8 port) | 120 | 1 | 120
Cat5 Cabling | 10 | 5 | 50
Large Solar Panels (in kW) | 5000 | 2.4 | 12000
Inverter (2 kW) | 2000 | 2 | 4000
Solar Storage Battery (in kWh) | 1500 | 0.5 | 750
Solar Charge Controller (1.4 kW) | 500 | 2 | 1000
New outlets from inverters to classrooms | 40 | 5 | 200
Power Strips | 10 | 53 | 530
|  | Total Estimated Cost for this school: | 61930
|  | Cost/Student: | 309.65
|  | Power Cost/Student: | 92.4
|  | Monthly Cost of Operation/Student: | 0
With Generator | Cost/ea | Qty | Subtotal
Laptops | 209 | 200 | 41800
Server(s) | 800 | 1 | 800
Disk Storage | 200 | 1 | 200
Wireless Access Points w. POE | 120 | 4 | 480
Network Switch w. POE (8 port) | 120 | 1 | 120
Cat5 Cabling | 10 | 5 | 50
Generator and Diesel/Gasoline tanks | 500 | 1 | 500
New outlets from generators to classrooms | 40 | 5 | 200
Power Strips | 10 | 53 | 530
|  | Total Estimated Cost for this school: | 44680
|  | Cost/Student: | 223.4
|  | Power Cost/Student: | 6.15
|  | Monthly Cost of Operation/Student: | 0.66496
Example #3: Large school
Number of laptops in the school: | 500 | teachers and students
Example #3 Suggested Infrastructure
Number of Servers: | 1 | large server
Number of Access Points: | 7
Number of Switches | 2
Power requirements per school
Laptops | 5 | kW, or | 20 | kWH per day
Servers | 0.12 | kW, or | 0.48 | kWH per day
Networking | 0.096 | kW, or | 0.384 | kWH per day
Mimimum Service required for this school | 5.216 | kiloWatts
Power per day required by this school | 20.864 | kiloWatt Hours
Server
Processor | > 2 | GHz x86 compatible
Minimum Memory (DRAM) | 1 | Gbyte per server
Minimum Disk Storage | 1536 | Gbyte per server
Example #3 Estimated Costs
With Grid Power | Cost/ea | Qty | Subtotal
Laptops | 209 | 500 | 104500
Server(s) | 1200 | 1 | 1200
Disk Storage | 200 | 1 | 200
Wireless Access Points w. POE | 120 | 7 | 840
Network Switch w. POE (8 port) | 120 | 2 | 240
Cat5 Cabling | 10 | 9 | 90
Power Strips | 10 | 128 | 1280
|  | Total Estimated Cost for this school: | 108350
|  | Cost/Student: | 216.7
|  | Server & Networking Cost/Student: | 5.14
|  | Power Cost/Student: | 2.56
|  | Monthly Cost of Operation/Student: | 0.10015
With Solar Power | Cost/ea | Qty | Subtotal
Laptops | 209 | 500 | 104500
Server(s) | 1200 | 1 | 1200
Disk Storage | 200 | 2 | 400
Wireless Access Points w. POE | 120 | 7 | 840
Network Switch w. POE (8 port) | 120 | 2 | 240
Cat5 Cabling | 10 | 9 | 90
Large Solar Panels (in kW) | 5000 | 5.8 | 29000
Inverter (2 kW) | 2000 | 3 | 6000
Solar Storage Battery (in kWh) | 1500 | 1 | 1500
Solar Charge Controller (1.4 kW) | 500 | 5 | 2500
New outlets from inverters to classrooms | 40 | 13 | 520
Power Strips | 10 | 128 | 1280
|  | Total Estimated Cost for this school: | 148070
|  | Cost/Student: | 296.14
|  | Power Cost/Student: | 81.6
|  | Monthly Cost of Operation/Student: | 0
With Generator | Cost/ea | Qty | Subtotal
Laptops | 209 | 500 | 104500
Server(s) | 1200 | 1 | 1200
Disk Storage | 200 | 2 | 400
Wireless Access Points w. POE | 120 | 7 | 840
Network Switch w. POE (8 port) | 120 | 2 | 240
Cat5 Cabling | 10 | 9 | 90
Generator and Diesel/Gasoline tanks | 500 | 2 | 1000
New outlets from generators to classrooms | 40 | 13 | 520
Power Strips | 10 | 128 | 1280
|  | Total Estimated Cost for this school: | 110070
|  | Cost/Student: | 220.14
|  | Power Cost/Student: | 5.6
|  | Monthly Cost of Operation/Student: | 0.66765